## Introduction
Guidelines For Estimating
Solar Thermal Energy Production Costs
Based on 4 (7500 BTU) Tube Type Solar Collectors
|  | Date: | November, 2012
This guide is designed to provide you with planning information and a format for calculating costs of production for on-farm solar thermal energy production for water or space heating. Sale of excess heat energy beyond consumption are not included. Adjustments will be necessary when applying these figures to your own enterprise.
The budget estimates are based on a number of assumptions which are clearly defined in the supporting pages. Input costs are based on industry information. Proper equipment management in the production process and compliance to all applicable environmental requirements is assumed.
Disclaimer: This budget is only a guide and is not intended as an in depth study of the cost of production of the Manitoba solar thermal energy industry. Interpretation and utilization of this information is the responsibility of the user. If you require assistance with developing your individual budget, please contact your local MAFRI Business Development Specialist.
Print
Print Summary
Print Input

## Summary
On-Farm 4 x 7500 BTU Solar Thermal Energy Production Costs November, 2012
Based on a $12100 total capital cost & $0.0694 kwHr Manitoba Hydro rate
A. Energy Produced - estimated range |  | Minimum |  | Maximum
1.01 Total Annual Energy Produced |  | 43471500 | BTU | 65371500 | BTU
|  | 12737.0349 | kWHr | 19153.6771 | kWHr
1.02 Cost / installed kW - net energy output |  | 8321.87 |  | 5533.98
Total
B. Operating Costs |  | Cost/kWHr |  | Cost/kWHr | Cost | Your Cost
2.01 Maintenance |  | 0.0023553 |  | 0.0015663 | 30
2.02 Insurance |  | 0.0047892 |  | 0.0031848 | 61
2.03 Property Taxes |  | 0 |  | 0 | 0
Subtotal Operating Costs |  | 0.0071445 |  | 0.004751 | 91
2.04 Operating Interest |  | 0.00023553 |  | 0.00015663 | 3
Total Operating Costs |  | 0.0073801 |  | 0.0049077 | 94
C. Fixed Costs
3. Depreciation
3.01 Buildings |  | 0.0013347 |  | 0.00088756 | 17
3.02 Machinery & Equipment |  | 0.040669 |  | 0.027044 | 518
4. Investment
4.01 Buildings |  | 0.00078511 |  | 0.00052209 | 10
4.02 Machinery & Equipment |  | 0.012405 |  | 0.0082491 | 158
4.03 Land |  | 0 |  | 0 | 0
Total Fixed Costs |  | 0.055193 |  | 0.036703 | 703
Total Operating and Fixed Costs |  | 0.062573 |  | 0.041611 | 797
D. Labour |  | 0 |  | 0 | 0
Total Cost of Production | $ per kWHr | 0.062573 |  | 0.041611 | 797
or
Total Cost of Production | $ per million BTU | 18.3339 |  | 12.1919 | 797
E. Value | Based on: | 12737 kWHr per year |  | 19154 kWHr per year
Total Value |  | Per kWHr | Total | Per kWHr | Total
5.01 Estimated Annual On-Farm Energy Value |  | 0.073842 | 940.523 | 0.073842 | 1414.3382
Total Value - Cost of Production |  | 0.011268 | 143.523 | 0.032231 | 617.3382
| Based on: | 12737 kWHr per year |  | 19154 kWHr per year
Breakeven price |  | $kWHr |  | $kWHr
A. Operating Costs |  | 0.0073801 |  | 0.0049077
B. Operating & labour Costs |  | 0.0073801 |  | 0.0049077
C. Operating & Fixed Costs |  | 0.062573 |  | 0.041611
D. Operating, Fixed & Labour Costs |  | 0.062573 |  | 0.041611
Breakeven Price $/kWHr = Cost ÷ kWHrs
Estimated Return on Assets (ROA)
without MB Hydro rate inflation |  | 7.773% | * 1 | 11.69%
with 2.9% annual MB Hydro rate inflation |  | 10.77% | * 2 | 16.2%
Simple Payback Calculation
A. Without MB Hydro rate inflation |  | 12.8652 | Years1 | 8.5552 | Years
B. With 2.9% annual MB Hydro rate inflation |  | 9.2844 | Years2 | 6.174 | Years
Desired Simple Payback = 5 Years
C. Max.Capital Cost w/o Hydro rate inflation |  | 4702.6152 | * 1 | 7071.6908
D. Max. Capital Cost w/ 2.9% Hydro inflation |  | 6516.3261 | * 2 | 9799.1101
1. Based on Hydro rate @ $0.0694 per kWh plus PST & GST.
2. Based on 20 year average Hydro rate @ $0.096 per kWh plus PST & GST.
Disclaimer: This budget is only a guide and is not intended as an in-depth study of the cost of production of this industry. Interpretation and utilization of this information is the responsibility of the user. No liability for decisions based on this publication is assumed.

## Input
Solar Thermal Energy Production Costs - Input
Assumptions
1. This budget outlines the cost of production for a on-farm solar thermal hot water production operation.
2. Buildings and equipment are valued at new cost.
3. Solar Insolation is based on Natural Resources Canada solar resource maps.
4. Annual BTU production could vary from significantly from minimum or maximum estimates.
5. All heat energy produced is for farm use only.
Solar Thermal Energy Production
Solar collector output per hour - BTU |  | 7500
Number of solar collectors installed in heat system |  | 4
Max. Solar Insolation (hrs/day or kWh/m2/day) |  | 5.97
Min. Solar Insolation (hrs/day or kWh/m2/day) |  | 3.97
Capital incentive or grant |  | 0
MB Hydro residential rate |  | 0.0694 | / kWhr
Manitoba Sales Tax on Hydro |  | 1.4 | %
Federal GST Tax |  | 5 | %
Estimated Hydro rate annual inflation |  | 2.9 | %
Other Operating Costs
Maintenance |  | 0.25 | %
Labour Rate |  | 17.5 | / hour
Hours inspection per week |  | 0
Insurance |  | 0.5 | %
Property taxes |  | 0 | %
Investment Rate |  | 2.5 | %
Operating Interest Rate |  | 5.5 | %
Expected Solar Thermal Equipment Lifespan |  | 20 | years
Desired Simple Payback |  | 5 | years
Capital Costs
Buildings | Original Value |  | Salvage Value |  | Useful Life
Collector Mounts / Racks | 400 |  | 30 | % | 25 | years
Collector Mounts installation | 200 |  | 30 | % | 25 | years
Total | 600 |  | 30 | % | 25 | years
Machinery & Equipment
Solar Collector and Controllers | 10700 |  | 10 | % | 20 | years
Heat System (installation) | 800 |  | 10 | % | 20 | years
Capital grant or incentive | 0
Total | 11500 |  | 10 | % | 20 | years
Total Bldg., Mach. & Equip | 12100
Total Land Value | 0
Total Capital Investment | 12100
Note on E18: MB Hydro Residential Rate September 1, 2012

## Details
Assumptions
Assumptions
1. This budget outlines the cost of production for a on-farm solar thermal hot water production operation.
2. Buildings and equipment are valued at new cost.
3. Solar Insolation is based on Natural Resources Canada solar resource maps.
4. Annual BTU production could vary from significantly from minimum or maximum estimates.
5. All heat energy produced is for farm use only.
Solar Thermal Energy Production Worksheet
A. Energy Produced
1.01 Minimum Annual Production
[5 empty] | 7500 |  | Collector output (BTU/hr)
|  |  |  | x | 4 |  | Collectors (intalled/system)
|  |  |  | x | 3.97 |  | Solar Insolation (hrs/day)
|  |  |  | x | 365 |  | Days per year
|  |  | Total | = | 43471500 |  | BTU per Year
|  |  |  | ÷ | 3413 |  | kWh per BTU
|  |  | Total | = | 12737.0349 |  | kWh per Year
Maximum Annual Production
[5 empty] | 7500 |  | Collector output (BTU/hr)
|  |  |  | x | 4 |  | Collectors (intalled/system)
|  |  |  | x | 5.97 |  | Solar Insolation (hrs/day)
|  |  |  | x | 365 |  | Days per year
|  |  | Total | = | 65371500 |  | BTU per Year
|  |  |  | ÷ | 3413 |  | kWh per BTU
|  |  | Total | = | 19153.6771 |  | kWh per Year
1.02 Cost per installed kW - net energy output (minimum estimated annual production)
[5 empty] | 12737.0349 |  | kWh per Year
|  |  |  | ÷ | 365 |  | Days per year
|  |  |  | ÷ | 24 |  | Days per year
[5 empty] | 1.454 |  | Net energy output (kW)
[5 empty] | 12100 |  | Total solar thermal installed cost
|  |  |  | ÷ | 1.454 |  | Net energy output (kW)
|  |  | Total | = | 8321.87 |  | Cost per installed kW
Cost per installed kW - net energy output (maximum estimated annual production)
[5 empty] | 19153.6771 |  | kWh per Year
|  |  |  | ÷ | 365 |  | Days per year
|  |  |  | ÷ | 24 |  | Days per year
[5 empty] | 2.1865 |  | Net energy output (kW)
[5 empty] | 12100 |  | Total solar thermal installed cost
|  |  |  | ÷ | 2.1865 |  | Net energy output (kW)
|  |  | Total | = | 5533.98 |  | Cost per installed kW
B. Operating Costs
2.01 Maintenance
[5 empty] | 600 |  | capital cost - buildings
|  |  |  | + | 11500 |  | capital cost - equipment
|  |  |  | = | 12100 |  | Total bldg. & equipment
|  |  |  | x | 0.25% |  | Maintenance rate
|  |  |  | = | 30.25 |  | Total Maintenance
2.02 Insurance
[5 empty] | 600 |  | capital cost - buildings
|  |  |  | + | 11500 |  | capital cost - equipment
|  |  |  | = | 12100 |  | Total bldg. & equipment
|  |  |  | x | 0.5% |  | Insurance rate
|  |  |  | = | 60.5 |  | Total Insurance
2.03 Property Taxes
[5 empty] | 600 |  | capital cost - buildings
|  |  |  | + | 0 |  | capital cost - land
|  |  |  | = | 600 |  | Total bldg. & land
|  |  |  | x | 0% |  | Property tax rate
|  |  |  | = | 0 |  | Total Property tax
2.04 Operating Interest
(Operating interest is charged on one half of the subtotal operating costs)
[5 empty] | 91 |  | subtotal operating costs
|  |  |  | ÷ | 2 |  | average
|  |  |  | x | 5.5 |  | % operating interest rate
|  |  |  | = | 2.5025 |  | Operating Interest
Capital Costs
Buildings
| Collector Mounts / Racks | [5 empty] | 400
| Collector Mounts installation | [5 empty] | 200
| Total Building Cost | [5 empty] | 600
Machinery & Equipment
| Solar Collector and Controllers | [5 empty] | 10700
| Heat System (installation) | [5 empty] | 800
| Capital grant or incentive | [5 empty] | 0
| Total Machinery & Equipment Cost | [5 empty] | 11500
| Total Bldg., Mach. & Equip. | [5 empty] | 12100
| Total Land Value | [5 empty] | 0
| Total Capital Investment | [5 empty] | 12100
C. Fixed Costs
| 3. Depreciation |  |  |  | Original Cost - Salvage Value
Useful Life
3.01 Buildings
[5 empty] | 600 |  | original cost
|  |  |  | - | 180 |  | salvage value
|  |  |  | ÷ | 25 |  | years useful life
|  |  |  | = | 16.8
3.02 Machinery & Equipment
[5 empty] | 11500 |  | original cost
|  |  |  | - | 1150 |  | salvage value
|  |  |  | ÷ | 20 |  | years useful life
|  |  |  | = | 517.5
| 4. Investment |  |  |  | Original Cost + Salvage Value x Investment Rate
2
4.01 Buildings
[5 empty] | 600 |  | original cost
|  |  |  | + | 180 |  | salvage value
|  |  |  | ÷ | 2 |  | average
|  |  |  | x | 2.5 |  | % investment rate
|  |  |  | = | 9.75
4.02 Machinery & Equipment
[5 empty] | 11500 |  | original cost
|  |  |  | + | 1150 |  | salvage value
|  |  |  | ÷ | 2 |  | average
|  |  |  | x | 2.5 |  | % investment rate
|  |  |  | = | 158.125
4.03 Land
[5 empty] | 0 |  | land
|  |  |  | x | 2.5 |  | % investment rate
|  |  |  | = | 0
D. Labour
|  |  |  | x | 0 |  | Hours inspection per week
|  |  |  | x | 17.5 |  | Labour Rate per hour
|  | Total |  | = | 0 |  | Labour
5. Value
5.01 Minimum Estimated Annual On-Farm Energy value
[5 empty] | 0.0694 |  | MB Hydro rate per kWHr
|  |  |  | x | 1.4% |  | Manitoba Sales Tax - Hydro
|  |  |  | x | 5% |  | Federal GST
|  |  |  | x | 12737.0349 |  | kWHr energy produced/year
|  |  | Total | = | 940.523 |  | Energy Value
Maximum Estimated Annual On-Farm Energy value
[5 empty] | 0.0694 |  | MB Hydro rate per kWHr
|  |  |  | x | 1.4% |  | Manitoba Sales Tax - Hydro
|  |  |  | x | 5% |  | Federal GST
|  |  |  | x | 19153.6771 |  | kWHr energy produced/year
|  |  | Total | = | 1414.3382 |  | Energy Value
Summary Calculations
Future Estimated Average MB Hydro rate
[5 empty] | 0.096166 |  | MB Hydro rate per kWHr
(Based on 20 year average rates and 2.9% annual rate increase)
Future Estimated MB Hydro rate
[5 empty] | 0.12293 |  | MB Hydro rate per kWHr
(Rate in 20 years with 2.9% annual rate increase)
Future Minimum Estimated Average Annual On-Farm Energy value
[5 empty] | 0.096166 |  | MB Hydro rate per kWHr
|  |  |  | x | 1.4% |  | Manitoba Sales Tax - Hydro
|  |  |  | x | 5% |  | Federal GST
|  |  |  | x | 12737.0349 |  | kWHr energy produced/year
|  |  | Total | = | 1303.2652 |  | Energy Value
Future Maximum Estimated Average Annual On-Farm Energy value
[5 empty] | 0.096166 |  | MB Hydro rate per kWHr
|  |  |  | x | 1.4% |  | Manitoba Sales Tax - Hydro
|  |  |  | x | 5% |  | Federal GST
|  |  |  | x | 19153.6771 |  | kWHr energy produced/year
|  |  | Total | = | 1959.822 |  | Energy Value
Estimated Return on Asset (ROA) - without MB Hydro rate inflation
[5 empty] | 940.523 |  | Energy Value - minimum range
|  |  |  | ÷ | 12100 |  | Total Capital Investment
|  |  |  | = | 7.773% |  | ROA
Estimated Return on Asset (ROA) - without MB Hydro rate inflation
[5 empty] | 1414.3382 |  | Energy Value - maximum range
|  |  |  | ÷ | 12100 |  | Total Capital Investment
|  |  |  | = | 11.69% |  | ROA
Estimated Return on Asset (ROA) - with 2.9% annual MB Hydro rate inflation
[5 empty] | 1303.2652 |  | Energy Value - minimum range
|  |  |  | ÷ | 12100 |  | Total Capital Investment
|  |  |  | = | 10.77% |  | ROA
Estimated Return on Asset (ROA) - with 2.9% annual MB Hydro rate inflation
[5 empty] | 1959.822 |  | Energy Value - maximum range
|  |  |  | ÷ | 12100 |  | Total Capital Investment
|  |  |  | = | 16.2% |  | ROA
Simple Payback Calculation - without MB Hydro rate inflation
[5 empty] | 12100 |  | Total Capital Investment
|  |  |  | ÷ | 940.523 |  | Energy Value - minimum range
|  |  |  | = | 12.8652 |  | Years Payback
Simple Payback Calculation - without MB Hydro rate inflation
[5 empty] | 12100 |  | Total Capital Investment
|  |  |  | ÷ | 1414.3382 |  | Energy Value - maximum range
|  |  |  | = | 8.5552 |  | Years Payback
Simple Payback Calculation- with 2.9% annual MB Hydro rate inflation
[5 empty] | 12100 |  | Total Capital Investment
|  |  |  | ÷ | 1303.2652 |  | Energy Value - minimum range
|  |  |  | = | 9.2844 |  | Years Payback
Simple Payback Calculation- with 2.9% annual MB Hydro rate inflation
[5 empty] | 12100 |  | Total Capital Investment
|  |  |  | ÷ | 1959.822 |  | Energy Value - maximum range
|  |  |  | = | 6.174 |  | Years Payback
For further information contact your local MAFRI office.
Prepared by:
Roy Arnott, P.Ag.
Business Development Specialist
Killarney GO Centre 204-523-6424